The Hashemite University

Department of Chemistry

Special Topics in Analytical Chemistry

Analytical Separation, 103 495

Exam I, Spring 2011

Answer ALL Questions briefly:

- Define the following terms briefly					(5 marks)

- chromatography

- Partition

- Elution

- The method of Internal Standard

- Coefficients of mass transfer

- List variables that lead to zone broadening in chromatography												(4 marks)

- Name two general methods for improving resolution of two overlapping components on a chromatographic column.															(2 marks)

- Define the general elution problem in liquid chromatography, indicate the chromatographic variable responsible for this problem and explain how you can overcome this problem.						(3 marks)

- On a given wall-coated capillary column gas chromatograph, for a given volume of multi-component sample, retention data are dependent on experimental conditions.  List these conditions.																(3 marks)

- Select the best gas chromatographic detector for analyzing the following types of samples:								(5 marks)

________________________________________________________________

SAPMLE TYPE							DETECTOR

- Polychlorinated biphenyls (PCB’s) in wastewater

- Organophosphate pesticides in tomatoes

- Traces of Polycyclic aromatic hydrocarbons in wastewater

- Volatile organic compounds in truck exhaust gases

- High levels of  primary, secondary and tertiary alcohols in wine

__________________________________________________________________

- Explain the principle of operation of the flame photometric detector (FPD) in gas chromatography

(2 marks)

END OF EXAM